## Slide 1
Detroit Medical Center / Wayne State University · OpenSpineConsortium
Naming a Lumbar Level Without Counting From C2: From the CT Label to the C-arm Exposure
Gregory J. Schwing, MD, PhD¹ · Patrick Schwing² · Miraziz Ismoilov, MD³ · Nizar Alnabahneh, MD³ · Loren Schwiebert, PhD⁴ · the OpenSpineConsortium annotators⁵
¹ Department of General Surgery, Detroit Medical Center / Wayne State University, Detroit, MI · ² School of Medicine, LSU Health Sciences Center New Orleans
³ Department of Radiology, Detroit Medical Center / Wayne State University · ⁴ Department of Computer Science, Wayne State University · ⁵ Wayne State University School of Medicine
Abstract [number pending] · [session pending]
CNS 2026, Washington, DC
CNS 2026 · Washington, DC · Abstract [number pending]
Notes: 0:00-0:12 Title. Name, institutions, and that this is a rat model of MRI-guided LITT. Do not read the title aloud.

## Slide 2
Disclosures
Disclosures
CNS 2026 · Washington, DC · Abstract [number pending]
The authors have no relevant financial relationships to disclose.
All imaging is public and de-identified; the Wayne State University IRB determined the work is not human-participant research (2 September 2026). Funding: NIH NIGMS F30GM147909.
An invention disclosure covering the level-naming system is on file with Wayne State University. This talk shows what the system does and how it was tested; its methods are withheld until that review is complete.
Nothing shown is a medical device. The C-arm results are retrospective, on public exposures, and have not been evaluated prospectively.
Notes: 0:12-0:22 Disclosures. Read Dr Lee's Medtronic and Monteris agreements out loud - Monteris makes the LITT system, so the room will want to hear it named.

## Slide 3
Overview
One question, three papers, in the order the anatomy allows
CNS 2026 · Washington, DC · Abstract [number pending]
1
The problem — a lumbar level is named by counting from C2, and the study a lumbar case is planned on has no C2
2
CT first — transitional anatomy can be confirmed on CT, so that is where the labels were made: CTSpinoPelvic1K, 802 records, every anomaly a class of its own
3
What today's CT segmenters do with it — the most deployed tool reproduces the pattern of a one-level miscount on lumbarization (Not All Spines Are Created Equal, NeurIPS 2026)
4
The same name on the image the surgeon looks at — a network names lumbar levels on one exposure of a C-arm it never saw (SchwingNet)
5
What is still owed — the transitional test persons that certify it, and the CT census being built to find them
Notes: 0:22-0:40 Roadmap. Five beats, ten seconds. Do not linger.

## Slide 4
Background
The count fails exactly where the anatomy is transitional
CNS 2026 · Washington, DC · Abstract [number pending]
Wrong-level spine surgery runs at about one in 3,100 spinal procedures, and the cause most often cited is transitional anatomy.¹
A lumbosacral transitional vertebra is present in roughly one patient in ten; a thoracolumbar variant (a stump twelfth rib, a lumbar rib, a thirteenth thoracic vertebra) in more.
The gold standard names a level by counting caudally from C2 on whole-spine imaging. A lumbar case is planned on a lumbar study, T12 to S1. C2 is never in it.
So the name rests on local morphology, and the question is whether morphology is enough.
1. Epstein NE. Surg Neurol Int 2021;12:286. Field of view of 802 abdominopelvic CTs: the thoracic column enters from above; C2 never.

## Slide 5
Background
The same count, three anatomies
CNS 2026 · Washington, DC · Abstract [number pending]
Four rib-free bodies above the sacrum: an L1 that carries a lumbar rib and is counted thoracic (b), or an L5 assimilated to the sacrum (c). Same count, opposite surgical anatomy.
Six rib-free bodies (d): a true sixth lumbar vertebra, a T12 whose ribs are aplastic and is counted lumbar, or a first sacral segment that separated.
The origin of the border vertebra decides where the mobile junction is, which root exits beneath it, and which end plate the pelvic parameters were measured on.²
2. Konin GP, Walz DM. AJNR 2010;31:1778–1786. Records 0704, 0428, 0094 and 0005 of CTSpinoPelvic1K, aligned on the sacrum.

## Slide 6
Background
Why CT came first: confirmable on CT, only inferred on film
CNS 2026 · Washington, DC · Abstract [number pending]
1 · Confirm and label on CT
CTSpinoPelvic1K, 802 records:
every anomaly a class of its own
2 · Test the tools that read CT
Not All Spines: a deployed segmenter
at the lumbosacral junction
3 · Carry the name to the C-arm
SchwingNet: the level from shape
on one exposure, nothing to count
On CT the evidence that makes a vertebra transitional is in the volume: the rib on the lowest thoracic body, the transverse process meeting the sacral ala, the disc or its absence beneath the last free body, the number of sacral segments. A reader can confirm it and a label can record it.
On a radiograph or a C-arm frame those structures overlap, the field holds neither end of the spine, and no released radiograph anywhere carries a human-read T13 or Castellvi grade. The transitional truth exists on CT and nowhere else.
So the work ran in that order. Label the anatomy where it can be confirmed; measure what CT tools do with it; then carry the name to the image the surgeon looks at, and count what it will take to certify it there.
3. Castellvi AE, et al. Spine 1984;9:493–495. 4. Carrino JA, et al. Radiology 2011;259:196–202.

## Slide 7
The dataset
Two anchors on every record, and a class for every anomaly
CNS 2026 · Washington, DC · Abstract [number pending]
802 abdominopelvic CT records (TCIA CT COLONOGRAPHY): CTSpine1K's vertebrae and CTPelvic1K's pelvis joined on one series, plus per-level ribs, femora, a separate S1 and surgical hardware on every record.
Levels are anchored on the lowest rib-bearing vertebra and on S1, never on a count. L6, T13, lumbar ribs and stump ribs are recorded as themselves: 18 six-lumbar spines, 16 lumbar ribs, 98 stump twelfth ribs, 33 two-reader Castellvi grades (κ 0.74).
Validated before any number was believed: 802 of 802 pass the geometric invariants; 5,753 ribs, 0.035 % offset; spinopelvic measures match published values. Zenodo 10.5281/zenodo.22139642; dataset article submitted to Medical Physics.

## Slide 8
The dataset
The only CT collection whose labels can say what is there
CNS 2026 · Washington, DC · Abstract [number pending]
CTSpine1K and VerSe number the vertebrae but hold no pelvis; CTPelvic1K and RibSeg hold no lumbar count; TotalSegmentator's scheme has no L6, no lumbar rib and no transitional grade. VerSe graded Castellvi and used the grade to exclude.
CTSpinoPelvic1K is not the largest, but it is the only public CT collection whose label scheme can represent every reading at the junction: the count, L6, sacrum and S1, pelvis, per-level ribs, a lumbar rib, the femora and a transitional grade.

## Slide 9
The dataset
What 802 labelled spines say when nothing is counted from C2
CNS 2026 · Washington, DC · Abstract [number pending]
(a) Rib-free bodies above the sacrum: 29 records with four, 744 with five, 28 with six. (b) The lowest rib's length is bimodal: a stump twelfth rib in 98 of 788 (12.4 %), a lumbar rib in 16 of 802 (2.0 %), against 12.6 and 1.5 % in the published series.
(c) In the six-lumbar spines (orange) the lowest body's transverse process sits nearer the ilium than any ordinary L5 in a subset. Read from the labels alone: 11 are a true L6, 4 a separated first sacral segment, 1 a rib-less T12, 2 carry evidence at both ends.
Shape separates levels inside a patient: eleven size-normalised features, cross-validated by patient, give T12 against L1 at AUC 0.990 and 97.3 % over 1,485 vertebrae. Identity is local; the count is a convention laid over it.

## Slide 10
Not All Spines
What the most deployed CT segmenter does with an L6
CNS 2026 · Washington, DC · Abstract [number pending]
TotalSegmentator (the default back end of 3D Slicer), zero-shot at full resolution, on all 1,152 CTSpinoPelvic1K records: on normal anatomy it performs at its published level (L5 DSC 0.94).
Lumbarization, 14 patients: the lumbar labels slide one level caudally, L1 0.88 → L4 0.39 → L5 0.29; junction DSC 0.82 → 0.36 (three scorable). L5 DSC falls below 0.5 in 10 of 14, and in 9 of 9 count-style sacralizations, against 9 of 750 normals.
L6 emitted: 0 of 1,152 records. The scheme has no such class, so the output is confident, well formed and one level off: the pattern of a wrong-level count, with no error signal for anyone downstream.
No existing CT benchmark surfaces this, because none is stratified by transitional phenotype.
A lumbarization case with a true L6. Left, the ground truth; right, the segmenter's output: L4, L5 and sacrum DSC 0.00.

## Slide 11
Not All Spines
The junction gap closes; voxel labelling then hits its limit
CNS 2026 · Washington, DC · Abstract [number pending]
Trained on CTSpinoPelvic1K, released
The last lumbar body is one class whatever the count; five patient-grouped, LSTV-stratified folds; weights released.
Junction DSC on held-out lumbarization: 0.357 → 0.946 (+58.9 points; one case with a scorable junction, three cases non-degenerate).
Sacrum 0.817 → 0.969 on 113 held-out records: the best openly released dual spinopelvic CT segmenter.
Where semantic segmentation stops
Same data, same folds, an explicit L6 class instead of the merge: most ground-truth L6 voxels are still labelled L5.
Count-style sacralization: 82.7 % of L4 voxels labelled as the last lumbar body.
A voxel labeller cannot notice that its own sequence does not fit twelve, five and a sacrum. Naming the sequence is a different task, and it needs a reader.
Any CT segmenter claiming readiness for surgical planning should report per-class DSC and L5/S1 confusion on a transitional cohort, with each stratum's n beside the number.
5. Schwing GJ, Schwing P, Ismoilov M, Alnabahneh N, Schwiebert L. Not All Spines Are Created Equal. NeurIPS 2026 Datasets & Benchmarks.

## Slide 12
SchwingNet
To the C-arm: what exists to learn from, and what does not
CNS 2026 · Washington, DC · Abstract [number pending]
Public sources only: 4,093 renders of labelled CT, 9,108 level-annotated radiographs from four corpora, 4,276 real exposures with three-dimensional truth, 778 of them from mobile C-arms.
194 transitional persons across the sources: 110 with an L6 (three intraoperative), seven with a T13, 28 with a sacralised L5 (12 four-lumbar), 31 Castellvi I/II, 14 with a lumbar rib.
No released radiograph or C-arm frame anywhere carries a human-read T13 or Castellvi grade (hatched). The transitional truth exists only on CT, which is why CT came first, and why the renders of labelled CT are the only labelled source of the rare classes.
Rows: labelled CT; its render; another patient's real film. Bar, 20 mm.

## Slide 13
SchwingNet
A sixth lumbar vertebra has a shape of its own
CNS 2026 · Washington, DC · Abstract [number pending]
A level model trained to name a vertebra from its own appearance, with nothing to count from. Its embedding of 13,009 validation crops from 1,612 people: the nearest crop from another person is the same level in 74.9 % and within one level in 93.8 %.
L6 separates from L5 (silhouette 0.35; 95 % CI 0.31, 0.39) more than L5 from L4 (0.23) and as far as L1 from T12 (0.32).
It named 75 of 98 L6 crops L6, and 111 of 1,012 L5 crops L6. In three never-seen patients one CT labeller reads six-lumbar (stars), the contested body sat nearer the L6 cluster only under whole-vertebra boxes.
(a) Every level, C1 to sacrum; (b) the lumbosacral window. No T13 was held out to embed.

## Slide 14
SchwingNet
One lateral exposure of a C-arm the network never saw
CNS 2026 · Washington, DC · Abstract [number pending]
C-ArmLSpine: 148 intraoperative cases, truth from cone-beam CT, a C-arm outside every training set.
First the bodies and the sacrum are boxed without any level name (a): 617 of 676 agreed lateral bodies (91.3 %).
Then each body is named from its shape alone (b). Never trained on this C-arm: 595 of 617 lateral bodies named exactly (96.4 %; 92.3, 98.4); anteroposterior 43.7 %.
Fine-tuned on other cases of the same C-arm: lateral 97.4 %, anteroposterior 96.4 %.
With three bodies in view 93.1 %; with one body 74.8 %. A field that holds nothing to count from still yields a name, with a posterior beside it.

## Slide 15
SchwingNet
Two readings of one frame, and a stop where they disagree
CNS 2026 · Washington, DC · Abstract [number pending]
Shape and count, each alone and together
Count from the detected sacrum in the ordinary five-lumbar alphabet, no shape used: 979 of 1,009 bodies exact (97.0 %).
Shape alone, the fine-tuned model: 986 of 1,009 (97.7 %).
Both together: 991 of 1,009 (98.2 %; 96.5, 99.5), 1.2 points over the count alone.
It knows when to stop
The read declined to name 23 of 233 anchored frames.
Those 23 hold five of the six frames carrying an error, and all four six-lumbar calls.
On the frame one CT labeller reads as six-lumbar, the output is a stop, not a verdict: the two readings are reported as disagreeing rather than resolved.
On the one exposure the surgeon has, the level is named from shape, checked against the count from the sacrum, and a disagreement between them is reported, not hidden.
How the two readings are combined and when the read stops are withheld under the Wayne State University invention disclosure; every number here is from public exposures scored against cone-beam CT.

## Slide 16
SchwingNet
How many people it takes, and which view they were shot in
CNS 2026 · Washington, DC · Abstract [number pending]
(a) Certifying 90 % naming on transitional anatomy at zero errors needs 35 at-risk test persons; 85 % sensitivity to the variant needs 22 carriers. No real-exposure transitional person is verified yet; seven candidates exist.
(b) Naming rose with training persons on every film corpus: NHANES II 77.8 → 92.7 %, BUU-LSPINE 65.0 → 96.9 %, CSXA 94.2 → 99.8 %.
On the C-arm it rose by view rather than by count: lateral 93.7 % with no C-arm person and 98.1 % with 50; anteroposterior 33.8 % with none, 90.8 % with five, 98.1 % with all. A lateral-trained model read anteroposterior bodies at 54.7 %; training both views cost neither.

## Slide 17
SchwingNet
Where the frames sat mattered more than how many there were
CNS 2026 · Washington, DC · Abstract [number pending]
(c) Finding the vertebrae on a new C-arm: 7 % with none of its frames, a plateau from 24 frames (84 %). On the truth boxes that are complete and inside the field, 95.6 %: the plateau is the truth at the edge of the field, not the detector. Trained on one view, it found 0–40 % of the other view's bodies.
(d) Detectors trained on renders at anteroposterior and lateral poses only: 82 % at those angles, 53 % over the arc between them. Doubling those frames: 94 and 65 %. The same number of frames spread over the arc: 81 and 77 %.
More of the same frames buys little; a frame from an angle or a view not yet seen buys a great deal.

## Slide 18
What is owed
The test still owed, and the CT census that will supply it
CNS 2026 · Washington, DC · Abstract [number pending]
The test that certifies it
Pre-stated: 35 error-free at-risk persons on real exposures certify 90 %; 22 carriers certify 85 % on the variant.
Verified today: none on real exposures. The three L6 patients on the intraoperative C-arm are scored only in cross-validation.
Seven at-risk persons with an exported real frame exist; error-free they would bound 64.6 %.
Where they will come from: a CT census
22 public CT collections screened by two independent automatic labellers: 18,873 CTs listed, 16,898 on disk, 12,123 with both lumbosacral references in the field.
Expected from published prevalence: about 320 six-lumbar spines, 160 four-lumbar, 900–1,800 Castellvi II–IV, 40–120 T13.
Called so far: 21 L6 by both labellers, 16 T13 by one; 84 disagreements await a human reader.
Every transitional case confirmed on CT becomes a labelled render for the C-arm model and, where a radiograph exists, a test person for it.
Two-labeller screening of public CT for transitional anatomy: presented at AACA 2026.

## Slide 19
Conclusions
Conclusions
CNS 2026 · Washington, DC · Abstract [number pending]
Transitional anatomy can be confirmed on CT, so the labels were made there. CTSpinoPelvic1K records every anomaly at the lumbar borders as itself: 802 records, two anchors, no count.
The most deployed CT segmenter reproduces a one-level miscount on lumbarization and never emits an L6. A segmenter built on these labels closes the junction gap by 58.9 points and shows where voxel labelling stops: a sequence has to be read, not labelled.
The name carries to the C-arm. On a C-arm it never saw, the network named 96.4 % of lateral bodies exactly from shape alone, 98.2 % with the count coupled, and stopped where the two disagreed. What is owed is the transitional test on real exposures; the census is being built to supply it.
Identity by local shape, checked against the count, with a stop where they disagree: what a wrong-level safeguard needs and a count alone cannot give.

## Slide 20
Limitations
Limitations and next steps
CNS 2026 · Washington, DC · Abstract [number pending]
Limitations
No scan contains C2: the CT readings are morphological consistency, not developmental truth.
33 Castellvi grades, two residents' consensus; 7 transitional cases in the segmenter's held-out split; every stratified number carries its n.
One intraoperative C-arm, 148 cases, ordinary anatomy; transitional naming on real exposures rests on three cross-validation patients.
Retrospective, public data. Nothing has been evaluated prospectively; nothing shown is a device.
Next steps
Finish the census; two readers verify each transitional candidate; run the pre-stated test: 35 persons, zero errors.
A second C-arm added to the corpus and held out.
Bench, phantom and cadaver evaluation before any operating-room use.
Data and weights: Zenodo, GitHub and Hugging Face under OpenSpineConsortium; one command onboards a new annotator (openspineconsortium.com/onboarding).

## Slide 21
Thank you
Acknowledgments and data availability
CNS 2026 · Washington, DC · Abstract [number pending]
Coauthors and annotators: Patrick Schwing; Miraziz Ismoilov and Nizar Alnabahneh (Radiology, DMC/WSU); Loren Schwiebert (Computer Science, WSU); Ashley Schehr, Annika Tekumulla, Margret Khoushi, Ryan Christian, Dane Hubers, Faris Mahjoub, Hassan Saad, Mia Sooch, Sathyagopal Siddapureddy, Michael McLellan, Jerick Kim (WSU School of Medicine).
Data: CTSpinoPelvic1K, doi.org/10.5281/zenodo.22139642 (CC BY-NC-SA 4.0); imaging from TCIA CT COLONOGRAPHY; annotations derive from CTSpine1K and CTPelvic1K.
Code and weights: github.com/OpenSpineConsortium; huggingface.co/OpenSpineConsortium.
Papers: Not All Spines Are Created Equal (NeurIPS 2026 Datasets & Benchmarks); CTSpinoPelvic1K dataset article (Medical Physics, submitted); SchwingNet (in preparation).
Funding: NIH NIGMS F30GM147909. Compute: Wayne State University Grid.
Questions
gregory.schwing@med.wayne.edu
openspineconsortium.com